FACULTY OF ENGINEERING

UNIVERSITY OF JAFFNA

EC6020

EMBEDDED SYSTEM

GROUP PROJECT

USER MANUAL

DESIGN AND DEVELOPMENT OF E-HEALTH MONITORING SYSTEM USING IOT AND SENSORS

SUBMITTED BY: GROUP CG-07

2020/E/069  KARUNASENA N.W.S.

2020/E/070  KEERTHIKAN F.J.

2020/E/074  KOKILARAJ A.

### User Guidance for Using the E-Health Monitoring System

This section provides step-by-step instructions on how to use the E-Health Monitoring System. Follow these guidelines to ensure accurate monitoring of vital health parameters.

Step 1: Initial Setup

- Power On the System:

  - Connect the 9V battery to the NodeMCU-ESP8266 to power the system.

  - Ensure that all components (sensors, breadboard, and jumpers) are properly connected as per the hardware setup instructions.

- Connect to Wi-Fi:

  - The NodeMCU will automatically attempt to connect to the configured Wi-Fi network.

  - Ensure that the Wi-Fi credentials in the code are correct and that the network is within range.

- Check System Status:

  - Once powered on, the NodeMCU should start reading data from the sensors.

  - Observe the system for any immediate errors or issues, such as loose connections or faulty components.

Step 2: Monitoring Health Parameters

- Access Ubidots Dashboard:

  - Open a web browser on your computer or smartphone.

  - Go to the Ubidots website: https://industrial.ubidots.com.

  - Log in to your Ubidots account.

- View Real-Time Data:

  - Navigate to your device dashboard.

  - You should see real-time data updates for the monitored health parameters:

    - Body Temperature: Displayed in degrees Celsius.

    - Heart Rate: Displayed in beats per minute (BPM).

    - SPO2 Levels: Displayed as a percentage (%).

    - ECG Signals: Displayed as a graph.

- Interpret the Data:

  - Body Temperature: A normal body temperature typically ranges from 36.1°C to 37.2°C. If the temperature exceeds 37°C, the buzzer will sound.

  - Heart Rate: A normal resting heart rate for adults ranges from 60 to 100 BPM.

  - SPO2 Levels: Normal oxygen saturation levels range from 95% to 100%.

  - ECG Signals: The ECG graph shows the electrical activity of the heart. Consult a healthcare professional for interpretation.

Step 3: Receiving Alerts

- Temperature Alert:

  - If the body temperature exceeds 37°C, the buzzer will activate.

  - Check the temperature reading on the Ubidots dashboard to confirm.

  - Take appropriate action, such as cooling down or consulting a healthcare professional.

#### Step 4: Data Logging and Review

- Historical Data:

  - Ubidots stores historical data, allowing you to review past readings.

  - Navigate to the "History" or "Data" section of your Ubidots dashboard to view trends over time.

- Generate Reports:

  - Use Ubidots features to generate reports for specific periods.

  - Share these reports with healthcare providers for better health management.

#### Step 5: Regular Maintenance

- Check Sensor Connections:

  - Regularly inspect the connections of the sensors to ensure they are secure.

  - Reconnect any loose wires.

- Replace Power Source:

  - Monitor the battery life and replace the 9V battery as needed to ensure continuous operation.

- Clean Sensors:

  - Keep the sensors clean and free from dust or other contaminants.

  - Use a soft, dry cloth to gently wipe the sensors.

#### Safety and Precautions

- Medical Advice: The system provides monitoring data for informational purposes only. Always consult with a healthcare professional for medical advice and diagnosis.

- Avoid Moisture: Keep the electronic components dry and avoid exposing the system to water.

- Handle with Care: Be gentle with the sensors and connections to avoid damage.

By following these user guidelines, you can effectively use the E-Health Monitoring System to monitor vital health parameters, receive alerts, and maintain the system for optimal performance. For further assistance or technical support, refer to the contact information provided in the user manual.